## Slide 1
Α. Αργυράκη- Παραδείγματα εκτίμησης αβεβαιότητας δειγματοληψίας
EURACHEM-CITAC UfS Guide, 2019

## Slide 2
Δειγματοληπτικός στόχος
Σύνθετο δείγμα = 10 x
Σχέδιο δειγματοληψίας
Διπλό δείγμα

## Slide 8
Παράγοντας τυπικής αβεβαιότητας (typical uncertainty factor):
Διευρυμένος παράγοντας τυπικής αβεβαιότητας (expanded uncertainty factor)
Για k=2 (επίπεδο εμπιστοσύνης 95%):
expanded uncertainty factor
expanded uncertainty

## Slide 9
e2*0.4817 = 2.6207

## Slide 10
Δειγματοληψία Κασσάνδρα Χαλκιδικής

## Slide 11
Παράδειγμα τρόπου λήψης διπλού δείγματος

## Slide 12: Δειγματοληψία επιφανειακού εδάφους- Λεκανοπέδιο Αθήνας
10 m
10 m
Sampling grid 1 km x 1km  238 locations
Duplicate sample 200m from original location
Sample preparation
  Drying- 2mm and then 100 μm sieving
Analysis
  ICP-MS analysis after HNO3–HCl–HClO4–HF mixture digestion
  Duplicate analysis and 2 NIST CRMs
Notes: A total of 238 composite topsoil (0–10 cm) samples were collected on a 1 x1 km grid in the spring and summer of 2012.
Five subsamples were collected from the center and corners of a 10 m square site to obtain a representative sample from each sampling location. If this was not possible, the composite sample was obtained by collecting material from 5 points with at least 5 m distance from each other. The -100 μm fraction was used for chemical analyses.

## Slide 13
Εφαρμογή bottom-up μεθοδολογίας
! Κοκκώδες υλικό!- ΚΑΘΟΡΙΣΤΙΚΟΣ ΠΑΡΑΓΟΝΤΑΣ ΟΙ ΙΔΙΟΤΗΤΕΣ ΤΟΥ ΥΛΙΚΟΥ

## Slide 14
Relative variance of the fundamental sampling error:

## Slide 15
Relative variance of the fundamental sampling error: